# Clinical Endpoints Guide – Hair Removal

Katica Advanced Aesthetics

## Desired Endpoints

✅ Mild perifollicular edema
 ✅ Mild perifollicular erythema
 ✅ Warmth without excessive discomfort
 ✅ Occasional hair singe smell

## Signs to Pause / Reassess

⚠️ Sharp pain beyond expectation
 ⚠️ Excess redness rapidly spreading
 ⚠️ Gray or white tissue response
 ⚠️ Blistering
 ⚠️ Client unable to tolerate treatment

## Technique Reminders

☐ Maintain even overlap
 ☐ Keep steady hand speed
 ☐ Full contact if required by device
 ☐ Communicate throughout treatment
 ☐ Watch skin after every pass

## Golden Rule

Watch the skin, not just the screen.