# Eye Protection Chart by Wavelength

Katica Advanced Aesthetics | Quick Reference

| Device Type | Common Wavelength | Common Use | Eyewear Needed |
| --- | --- | --- | --- |
| Alexandrite | 755 nm | Hair removal / pigment | 755 rated goggles |
| Diode | 810 nm | Hair removal | 810 rated goggles |
| Nd:YAG | 1064 nm | Hair removal / vascular | 1064 rated goggles |
| KTP | 532 nm | Red / pigment lesions | 532 rated goggles |
| IPL / BBL | Broad spectrum | Pigment / redness / rejuvenation | IPL approved eye shields/goggles |
| Er:YAG | 2940 nm | Resurfacing | Specific erbium eyewear |
| CO2 | 10600 nm | Ablative resurfacing | CO2 rated eyewear |

## Rules to Remember

- Eyewear must match wavelength

- Never guess

- Inspect for cracks or damage

- Client eyewear must stay secure during treatment

- Provider eyewear stays on entire procedure

## Golden Rule

No eyewear = No treatment