# LHR Hair Removal Parameter Guide

Katica Advanced Aesthetics | Quick Reference

## Always Consider:

### 1. Fitzpatrick Type

Lower competing melanin = often more aggressive options
 Higher competing melanin = more caution + epidermal protection

### 2. Hair Type

Dark coarse hair = best candidate
 Fine hair = may require modified expectations
 Light / gray hair = often limited response

### 3. Treatment Area

Face = more caution / hormonal influence possible
 Underarms = dense hair, often responsive
 Legs = larger area, consistency matters
 Bikini = coarse hair, comfort management important

### 4. Cooling

Use cooling to improve comfort and protect epidermis.

### 5. Start Smart

Use safe effective settings and adjust based on response.

## Provider Questions

- What am I targeting?

- How much competing pigment is present?

- Is the client tanned?

- What endpoint am I seeking?

- What is safest today?

## Golden Rule

Consistency beats aggression.