# Laser Safety Setup Checklist

Katica Advanced Aesthetics | Module 9

## Before Turning On Any Laser Device

### Room Safety

☐ Laser warning sign posted outside room
 ☐ Door closed / controlled access
 ☐ No unnecessary people in room
 ☐ Reflective items removed or covered
 ☐ Treatment room clean and organized
 ☐ Bed prepared with clean linens

### Equipment Safety

☐ Correct device selected
 ☐ Power cord secure
 ☐ Emergency stop accessible
 ☐ Handpiece clean and intact
 ☐ Cooling system functioning
 ☐ Smoke evacuator ready and connected
 ☐ Filters checked if applicable

### PPE / Eyewear

☐ Correct wavelength-specific eyewear available
 ☐ Provider eyewear on
 ☐ Client eyewear fitted properly
 ☐ Assistant eyewear on if present

### Client Ready

☐ Consent completed
 ☐ Contraindications reviewed
 ☐ Treatment area cleansed / shaved if needed
 ☐ Photos taken if applicable
 ☐ Settings reviewed before first pulse

### Final Reminder- If anything feels off, stop and reassess before firing.