# Parameter Selection Cheat Sheet

Katica Advanced Aesthetics | Module 10

## Always Consider These 5 Factors

### 1. Fitzpatrick Skin Type

Lighter skin often tolerates more aggressive settings.
 Darker skin requires more caution and epidermal protection.

### 2. Treatment Goal

Hair removal
 Pigment
 Vascular
 Texture / rejuvenation

### 3. Target Depth

Shallow = shorter wavelengths may work
 Deeper = longer wavelengths often preferred

### 4. Hair / Lesion Characteristics

Dark coarse hair responds differently than fine light hair.
 Dense vessels differ from diffuse redness.

### 5. Client History

Recent sun exposure
 Sensitivity
 Medications
 Previous response

## Smart Provider Questions

- What am I targeting?

- Where is it located?

- How much melanin is competing?

- What endpoint am I seeking?

- What is safest effective starting point?

## Provider Rule

Start conservative. Adjust with response.